To Be Completed by Crew

Date: 	  Time:

Crew:

Bldg./ Area:

Description of Work:

Anticipated Start Time:

Anticipated End Time:

Unusual Conditions:

( Confined Space	( Potentially Hazardous

Environment

( Close Quarters	( Work on Flammable

or Combustible

Containers

(Follow NFPA 327)

Fire Watch

Assigned:  (  Yes	(  No

Name of Fire Watch or Reasons Why None Was Assigned:

Post-Shift Fire Watch:  (  Yes	(  No

Name of Post-Sift Fire Watch or Reasons Why None Was Assigned:

Outside Contractor:	(  Yes	(  No

Hot Work Procedures have been Explained to Contractor’s Rep. and Will be Followed:

Signed:

(contractor’s authorized representative)

Name:

(contractor’s firm)

When above has been completed submit permit to authorized personnel for approval.

Time Work Started: 	 Completed:

Performed by:

To Be Completed by Supervisor

Authorized personnel must inspect the work area prior to approving any Hot Work.  That individual should see to it personally that the following NFPA prescribed precautions are in place to help prevent fire loss.

Cutting and welding equipment is in good repair..........( Yes

Fire extinguishers readily available at the work site......( Yes

Water hose or five gallon pail with water are readily

accessible at the work site.............................................( Yes

Sprinklers are in service................................................( Yes  ( N/A

Floor has been swept clear of combustibles within

35 feet of operations......................................................( Yes

Combustible floors and materials within 35 feet of

operations have been wet down or otherwise protected..( Yes  ( N/A

All combustible or flammable liquids within 35 feet

have been removed........................................................( Yes  ( N/A

Combustible or flammable liquids and hydraulic lines

are protected with covers, guards or metal shields.........( Yes  ( N/A

All wall and floor openings, including conveyor

openings, within 35 feet of operations are covered with

noncombustible material...............................................( Yes  ( N/A

Covers suspended beneath work to collect sparks..........( Yes  ( N/A

Partition, wall, ceiling or roof involved in hot work

verified as not containing combustible covering or

sandwiched materials....................................................( Yes  ( N/A

Combustibles moved away from opposite side of wall

on which Hot Work is performed..................................( Yes  ( N/A

Enclosed tanks, ducts, dust collectors and other

containers which are the subject of Hot Work have

been cleaned of all combustibles....................................( Yes  ( N/A

Containers have been purged of all flammable or

combustible vapors per NFPA 327 and tested................( Yes  ( N/A

Confined space permit program also implemented........( Yes  ( N/A

Fire watch will be provided during Hot Work and

for 30 minutes thereafter...............................................( Yes

Fire watch trained in the use of extinguishing

equipment, fire alarm system and procedures for

calling the fire department............................................( Yes

The location cited has been inspected, THE necessary precautions taken and permission is granted for this work.

Signed:

(responsible for cutting and welding authorization)